## Sheet1
PRODUCT | # ON TRUCK(S) | JOHNSTONE PART #
HUMIDIFIERS
No. 10 | 4
No. 12 | 2
No. 35 | 4
Humidifier Water Feed Tube Kit | 0
Universal Solenoid Valves | 1
Aprilaire Solenoid Valve | 1
Honeywell Solenoid Valve | 0
AA Humidistat Control | 1
Orifices RED | 10
Orifices BLUE | 10
Orifices YELLOW | 10
Inline Strainers | 20
10VA Transformer 120>24v | 2
1/4" Copper Water Line | 1
Ferrals | 6
Outdoor Sensor | 1
Saddle Valve | 2
HYDRONICS
1/8" Auto Float Vent | 1
Aquastat Controller
Backflow Preventer 1/2" (9DM3) | 1
Ball Valves 1/2" | 2
Ball Valves 3/4" | 2
Expansion Tank #30 | 1
FB-38 Fast Fill | 1
Taco 007 Circ. Pump | 1
SOOTSPRAY (RectorSeal) | 1
8-Way Water Treatment | 1
30 PSI Relief Valve | 1
Amana 0130F00008S | 2
Amana Oval | 1
Amana/Goodman 02532625000 | 2
Amana/Goodman 201657035
Honeywell GlowFly | 2
Honeywell Q3400A 1024 (HEIL) | 1
Spiral SI101 | 1
Spiral SI102 | 1
Starlite 1090 Kit | 1
Starlite 1405, 41-405 | 2
Trane/Am. Std. 80volts | 1
Universal TrueStart | 2
White Roders Universal Ignitor/Hot Rod | 2
White Rodgers 767A370, RobertShaw 41-409 | 1
White Rodgers 767A-371 | 1
LEAK SEARCH
Soap Bubbles (Gas) | 1
Nitrogen (tank) | 1
UV Dye Packs | 2
UV Dye Kit (Refrigerant) | 1
MISCELLANEOUS
Basset Brackets | 8
Black Zip Ties 8" | 2 bags
Blue Monster Emory Cloth | 1
Booties Red | 2 rolls
Clear Silicon Caulk | 2
Aluminum Silicon Caulk | 1
CLR | 1
CO Detector | 1
Course Thread Dry Wall Screws to secure plywood | 50
Evaporator Coil Cleaner | 1 gal
Flux | 1
Flux Brush | 1
Foam Tape | 1
Furnace Cement | 1
Hose Clamps 5/8" | 2 | J27-100
Hose Clamps 7/8" | 2 | J27-102
Latex Gloves | 1 box
Leak Lock Compound | 1
Lineset Hangers (Touchdown) | 1 cs
MAPP Gas | 16
Mechanics Wire | 1
Perferated Strap (1 roll) | 1
Pipe Dope | 1
Pipe Hangers | 10
Potable Water Descaler (tankless) | 4
PropPoxy 20 (liquid steel) | 2
PVC Glue | 4
PVC Primer | 6
FSK Tape | 1
Respirator Mask | 2
Roll of UL Silver Tape | 1
Roof Tar (Gallon) | 1
Sawzall Blades | 2
Sil-Fos 15 Braze Rods | 2
Silver Solder 50/50 | 1 roll
Silver Solder 95/5 | 1 roll
Teflon Tape | 1
Thermo-Trap Paste | 1
Thumb Gum | 1
Utility Blades | 2 | 1
Vaccum Pump Oil | 1 gal
Vibration Pads 2"x2" | 4
Wasp Spray | 1
WD-40 | 1
Zip Screws 1" | 100
Zip Screws 1/2" (1000 ct) | 100
Zip Screws 2" (250 ct) | 100
Dryer Vent Tool
Lint Alert | 2
MOTORS |  | 0
Rescue Blower Motor
Rescue Condenser Motor
5" Blower Motor Belly Band | 1
5.5" Blower Motor Belly Band | 1
5 MFD | 4
7.5 MFD | 4
10 MFD | 4
12.5 MFD | 2
15 MFD | 2
20 MFD | 2
Multi Universal upto 20uf | 2
COPPER PIPING
1/2" x 10' M | 6ft
3/4" x 10' M | 6ft
PIPING
1/2" Drip Leg Assembly
90 | 2
45 | 2
Tee | 2
Cap | 2
Union | 2
Coupling | 2
Street 90 | 2
1/2" Assorted Black Iron Nipples
1/2"x Close | 4
1/2"x 2" | 4
1/2"x 2.5 | 4
1/2"x 3 | 4
1/2"x 3.5 | 4
1/2"x 4 | 4
1/2"x 4.5 | 4
1/2"x 5 | 4
1/2"x 5.5 | 4
1/2"x 6 | 4
1/2"x 8 | 2
1/2"x 10 | 2
1/2"x 12 | 2
1/2"x 18 | 1
1/2"x 24 | 1
90 | 2
45 | 2
Tee | 2
Cap | 2
Union | 2
Coupling | 2
3/4" Assorted Black Iron Nipples
3/4"x Close | 4
3/4"x 2 | 4
3/4"x 2.5 | 4
3/4"x 3 | 4
3/4"x 3.5 | 4
3/4"x 4 | 4
3/4 x 12" | 2
1" to 3/4" Bell Reducer | 4
3/4" x 1/2" Bell Reducer | 4
REFRIGERANTS
R22 | 1
R410A | 1
R422D | 1
REFRIGERATION SPECIALTY
Bullet Piercing Valve | 2
Line Tap Access Valve | 2
Schrader Valve Cap (brass) | 12
Locking Refrigerant Cap R22 | 2
Locking Refrigerant Cap R410A | 2
7/8 OD x 3/4 OD Reducing Coupling | 4
3/4 ACR Coupling | 4
7/8 ACR Coupling | 4
3/4" ACR 90 | 4
7/8 ACR 90 | 4
3/4" ACR Street 90 | 4
7/8 ACR Street 90 | 4
4" Adjustable Elbows | 4
6" Adjustable Elbows | 3
4"x24" pipe | 4
6>4 Reducer | 2
5>4 Reducer | 2
4>3 Reducer | 2
PVC
2" Bay Vent Kit | 1
2" J Hooks | 12
2" PVC 45s | 4
2" PVC Couplings | 4
2" PVC Long Sweep Elbows | 6
2" PVC Street 45s | 4
2" PVC Street Elbows | 4
3" Bay Vent Kit | 1
3" J Hooks | 12
3" PVC 45s | 4
3" PVC Couplings | 4
3" PVC Long Sweep Elbows | 6
3" PVC Street 45s | 4
3" PVC Street Elbows | 4
3" x 2" Reducers | 2
Water Heater (Misc)
100 XL Pressure/Temp Relief | 1
SHARKBITE FITTINGS
1/2" 12" Flexible Connector w/o shutoffs 7K770LF | 2
3/4" 12" Flexible Connector w/o shutoffs 7K774LF | 2
3/4 x 3/4" Coupling 7K801LF | 2
1/2 x 1/2" Coupling 7K800LF | 2
1/2" Ball Valve 7K890LF | 1
3/4" Ball Valve 7K892LF | 1
3/4" x 1/2" reducing coupling 7K810LF | 2
3/4 X (1/2 sb) FPT Adapter 7K814LF | 2
1/2" Tee 7K850LF | 1
3/4 Tee 7K851LF | 1
3/4" Tee w/3/4" FPT 7K854LF | 1